Acceptable codes of practices for various types of plan submissions

| Type of Plan Submission | Accepted Code of Practice |
| --- | --- |
| Building plan for fire safety works | Fire Safety Act; Fire Safety (Building Fire Safety) Regulation; and Code of Practice for Fire Precautions in Buildings. |
| Fire protection plan for automatic fire alarm system | Fire Safety Act; Fire Safety (Building Fire Safety) Regulations; Code of Practice for Fire Precautions in Buildings; and CP 10. |
| Fire protection plan for automatic sprinkler system | Fire Safety Act; Fire Safety (Building Fire Safety) Regulations; Code of Practice for Fire Precautions in Buildings; and CP 52. |
| Fire protection plan for rising main system | Fire Safety Act; Fire Safety (Building Fire Safety) Regulations; Code of Practice for Fire Precautions in Buildings; and CP 29. |
| Fire protection plan for water spray system | Fire Safety Act; Fire Safety (Building Fire Safety) Regulations; Code of Practice for Fire Precautions in Buildings; and NFPA 15. |
| Fire protection plan for foam system | Fire Safety Act; Fire Safety (Building Fire Safety) Regulations; Code of Practice for Fire Precautions in Buildings; and NFPA 11. |
| Air-conditioning and mechanical ventilation system | Fire Safety Act; Fire Safety (Building Fire Safety) Regulations; Code of Practice for Fire Precautions in Buildings; and CP 13. |
| Engineered smoke control system | Fire Safety Act; Fire Safety (Building Fire Safety) Regulations; Code of Practice for Fire Precautions in Buildings; and CP 13; BR 186 – Design principles for Smoke Ventilation in Enclosed Shopping Centres; BR 258 – Design Approaches for Smoke Control in Atrium Buildings; and Other acceptable standards. |